{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["封2预算总价","表02工程项目造价汇总表","表03单项工程造价汇总表","表04单位工程造价汇总表","表05分部分项工程量清单与计价表","表06总价措施项目清单与计价表","表07单价措施项目清单与计价表","表10分部分项工程量清单综合单价分析表","表11单价措施项目清单综合单价分析表","表14人工、材料设备、机械汇总表"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封2预算总价","index":0,"n_rows":16,"n_cols":12,"rows_kept":16,"merged":[[1,1,1,5],[1,6,1,9],[2,6,2,7],[2,8,2,10],[3,0,3,11],[4,0,4,1],[4,2,4,4],[4,5,4,7],[4,8,4,11],[5,0,5,1],[5,2,5,4],[5,5,5,7],[5,8,5,11],[6,1,6,4],[6,6,6,11],[7,1,7,4],[7,5,7,11],[8,1,8,4],[8,6,8,11],[9,1,9,4],[9,6,9,11],[10,1,10,11],[11,1,11,11],[12,1,12,4],[12,6,12,11],[13,6,13,7],[13,8,13,10],[15,6,15,11]],"flags":["formulas_cached_only"]}
["  封2"," "," "," "," "," "," ",null," ",null,null," "]
[" ","技术中心污水管道改造",{"$nulls":4},"工程",{"$nulls":4}," "]
[" "," "," "," "," "," "," ",null," ",null,null," "]
["预 算 总 价"]
["预算总价（小写）：",null,"18855.32元",null,null,"其中：甲供材料费",null,null,"0元"]
["        （大写）：",null,"壹万捌仟捌佰伍拾伍元叁角贰分",null,null,"其中：甲供材料费",null,null,"零元整"]
["招 标 人："," ",{"$nulls":3}," 造价咨询人："," "]
[" ","（单位盖章）",{"$nulls":3},"（单位盖章或资质专用章）"]
["法定代表人\n或其授权人："," ",{"$nulls":3}," 法定代表人\n 或其授权人："," "]
[" ","（签字或盖章）",{"$nulls":3}," ","（签字或盖章）"]
["造价工程师："," "]
[" ","（签字盖专用章）"]
["编制时间：","2020年10月27日",{"$nulls":3},"复核时间：","2020年10月27日"]
[" "," "," "," "," "," "," ",null," ",null,null," "]
[]
[null," "," "," "," "," "," "]

{"sheet":"表02工程项目造价汇总表","index":1,"n_rows":8,"n_cols":4,"rows_kept":8,"merged":[[1,0,1,3],[2,0,2,2],[5,0,5,1]],"flags":["formulas_cached_only"]}
["  表2"," "," "," "]
["工程项目造价汇总表"]
["工程名称：技术中心污水管道改造",null,null,"第1页 共1页"]
["序号","单项工程名称","金额（元）","其中：\n安全文明施工费\n（元）"]
["1","技术中心污水管道改造","18855.32","98.62"]
["合    计",null,"18855.32","98.62"]
[]
[null," "," "," "]

{"sheet":"表03单项工程造价汇总表","index":2,"n_rows":9,"n_cols":4,"rows_kept":9,"merged":[[1,0,1,3],[2,0,2,2],[6,0,6,1]],"flags":["formulas_cached_only"]}
["  表3"," "," "," "]
["单项工程造价汇总表"]
["工程名称：技术中心污水管道改造",null,null,"第1页 共1页"]
["序号","单位工程名称","金额（元）","其中：\n安全文明施工费\n（元）"]
[" "," "," "," "]
["1","土建单位工程","18855.32","98.62"]
["合    计",null,"18855.32","98.62"]
[]
[null," "," "," "]

{"sheet":"表04单位工程造价汇总表","index":3,"n_rows":27,"n_cols":4,"rows_kept":27,"merged":[[1,0,1,3],[2,0,2,1],[2,2,2,3],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,0,24,2]],"flags":["formulas_cached_only"]}
["  表4"," "," "," "]
["单位工程造价汇总表"]
["工程名称：技术中心污水管道改造_土建单位工程",null,"第1页 共1页"]
["序号","汇  总  内  容",null,"金额（元）"]
[" "," ",null," "]
[" "," ",null," "]
["1","分部分项工程费",null,"18677.71"]
["1.1","土石方工程",null,"708.36"]
["1.2","混凝土工程",null,"358.78"]
["1.3","钢筋工程",null,"1096.01"]
["1.4","楼地面装饰工程",null,"560.1"]
["1.5","其他装饰工程",null,"15177.93"]
["1.6","拆除工程",null,"776.53"]
["2","措施项目费",null,"153.61"]
["2.1","总价措施项目费",null,"153.61"]
["2.1.1","安全文明施工费",null,"98.62"]
["2.1.2","其他总价措施费",null,"20.55"]
["2.1.3","扬尘防治措施费",null,"12.03"]
["2.1.4","建筑工人实名制措施费",null,"22.41"]
["2.2","单价措施项目费",null,"0"]
["3","其他项目费",null,"24"]
["3.1","暂列金额",null,"24"]
["3.2","专业工程暂估价",null,"0"]
["3.3","总承包服务费",null,"0"]
["合计=1+2+3",null,null,"18855.32"]
[]
[null," "," "," "]

{"sheet":"表05分部分项工程量清单与计价表","index":4,"n_rows":36,"n_cols":8,"rows_kept":36,"merged":[[0,0,0,1],[1,0,1,7],[2,0,2,5],[2,6,2,7],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,3,7],[7,1,7,7],[11,0,11,6],[12,1,12,7],[14,0,14,6],[15,1,15,7],[18,0,18,6],[19,1,19,7],[21,0,21,6],[22,1,22,7],[28,0,28,6],[29,1,29,7],[32,0,32,6],[33,0,33,6],[35,6,35,7]],"flags":["formulas_cached_only"]}
["  表5",null," "," "," "," "," "," "]
["分部分项工程量清单与计价表"]
["工程名称：技术中心污水管道改造_土建单位工程",{"$nulls":5},"第1页 共1页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金   额（元）"]
[{"$nulls":6},"综合\n单价","合  价"]
[" "," "," "," "," "," "," "," "]
[" "," "," "," "," "," "," "," "]
["一","土石方工程"]
["1","010101002001","挖一般土方","  1.人工挖一般土方 (三类土 \n槽深4m以内)","m3","9.92","38.15","378.45"]
["2","010103001002","回填方","  1.填土机械夯实 (槽坑)","m3","8.53","10.22","87.18"]
["3","010103002005","余方弃置","  1.装载机装土方\n  2.废弃料品种:开挖土石方、\n拆除建筑垃圾等\n  3.运距:暂按10km，结算时据\n实调整","m3","7.74","31.36","242.73"]
["小     计",{"$nulls":6},"708.36"]
["二","混凝土工程"]
["1","010508001002","后浇带","1.混凝土种类（商品混凝土、现\n场拌制，泵送、非泵送）:预拌\n非泵送普通混凝土\n2.混凝土强度等级:C30","m3","0.55","652.33","358.78"]
["小     计",{"$nulls":6},"358.78"]
["三","钢筋工程"]
["1","010515001060","现浇构件钢筋","  1.钢筋种类、规格:带肋钢筋\nHRB400、φ12mm","t","0.07","5831.57","408.21"]
["2","010516004002","建筑植筋","1.注入式建筑植筋(深度15d) \n(Ф12)","个","95","7.24","687.8"]
["小     计",{"$nulls":6},"1096.01"]
["四","楼地面装饰工程"]
["1","011101001001","水泥砂浆楼地面","  部位：修补拆除原有水泥面层\n  1.水泥砂浆楼地面面层（\n20mm厚）","m2","18.4","30.44","560.1"]
["小     计",{"$nulls":6},"560.1"]
["五","其他装饰工程"]
["1","01BC01001001","埋管与原有地沟交\n接处-修补地沟","  1.埋管与原有地沟交接处-修\n补地沟","项","1","1000","1000"]
["2","040504008002","整体化粪池","  1.玻璃钢化粪池","座","1","2886.08","2886.08"]
["3","040504009003","雨水井","  1.排污井（D=1200）（具体做\n法结合现场实际）","座","2","2500","5000"]
["4","031001006001","塑料管","1.给排水管道 室外 塑料排水管\n(粘接) 外径(200mm以内)","m","37","85.35","3157.95"]
["5","010101007001","管沟土方","1.管道挖填土方 (管道公称直径\n(200mm以内)   1.0m深)","m","37","84.7","3133.9"]
["小     计",{"$nulls":6},"15177.93"]
["六","拆除工程"]
["1","011602001004","混凝土构件拆除","  1.拆除水泥砂浆整体面层","m2","18.4","21.36","393.02"]
["2","011602002001","钢筋混凝土构件拆\n除","  1.拆除40厚钢筋混凝土地面","m3","0.55","697.29","383.51"]
["小     计",{"$nulls":6},"776.53"]
["合     计",{"$nulls":6},"18677.71"]
[]
[{"$nulls":4}," "," "," "]

{"sheet":"表06总价措施项目清单与计价表","index":5,"n_rows":13,"n_cols":5,"rows_kept":13,"merged":[[1,0,1,4],[2,0,2,2],[2,3,2,4],[10,0,10,3]],"flags":["formulas_cached_only"]}
["  表6"," "," "," "," "]
["总价措施项目清单与计价表"]
["工程名称：技术中心污水管道改造_土建单位工程",null,null,"第1页 共1页"]
["序号","项  目  名  称","计 算 基 础","费率（%）","金额（元）"]
[" "," "," "," "," "]
[" "," "," "," "," "]
["1","安全文明施工费","18677.71","0.528%","98.62"]
["2","其他总价措施费","18677.71","0.11%","20.55"]
["3","扬尘防治措施费","98.62","12.2%","12.03"]
["4","建筑工人实名制措施费","18677.71","0.12%","22.41"]
["合    计",{"$nulls":3},"153.61"]
[]
[null," "," "," "," "]

{"sheet":"表07单价措施项目清单与计价表","index":6,"n_rows":9,"n_cols":8,"rows_kept":9,"merged":[[1,0,1,7],[2,0,2,6],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,3,7],[8,6,8,7]],"flags":["formulas_cached_only"]}
["  表7"," "," "," "," "," "," "," "]
["单价措施项目清单与计价表"]
["工程名称：技术中心污水管道改造_土建单位工程",{"$nulls":6},"第1页 共1页"]
["序号","项目编码","项目名称","项目特征描述","计量单位","工程量","金     额（元）"]
[{"$nulls":6},"综合单价","合价"]
[" "," "," "," "," "," "," "," "]
[" "," "," "," "," "," "," "," "]
[]
[{"$nulls":3}," "," "," "," "]

{"sheet":"表10分部分项工程量清单综合单价分析表","index":7,"n_rows":58,"n_cols":14,"rows_kept":58,"merged":[[0,0,0,1],[1,0,1,13],[2,0,2,10],[2,11,2,13],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,3,12],[3,13,4,13],[7,1,7,13],[15,1,15,13],[18,1,18,13],[20,0,20,1],[21,0,21,13],[22,0,22,10],[22,11,22,13],[23,0,24,0],[23,1,24,1],[23,2,24,2],[23,3,24,3],[23,4,24,4],[23,5,23,12],[23,13,24,13],[29,1,29,13],[32,1,32,13],[40,0,40,1],[41,0,41,13],[42,0,42,10],[42,11,42,13],[43,0,44,0],[43,1,44,1],[43,2,44,2],[43,3,44,3],[43,4,44,4],[43,5,43,12],[43,13,44,13],[50,1,50,13]],"flags":["formulas_cached_only"]}
["  表10",null," "," "," "," "," "," "," "," "," "," "," "," "]
["分部分项工程量清单综合单价分析表"]
["工程名称：技术中心污水管道改造_土建单位工程",{"$nulls":10},"第1页 共3页"]
["序号","项目编码","项目名称及特征描述","单位","工程量","综合单价组成（元）",{"$nulls":7},"综合单价\n（元）"]
[{"$nulls":5},"人工费","材料费","其中：\n设备费","施工机具使用费","企业管理费","利润","规费","税金"]
[" "," "," "," "," "," "," "," "," "," "," "," "," "," "]
[" "," "," "," "," "," "," "," "," "," "," "," "," "," "]
["一","土石方工程"]
["1","010101002001","挖一般土方\n  1.人工挖一般土方 (三类土 槽深\n4m以内)","m3","9.92","30.07","0.00","0.00","0.00","2.95","1.98","0.00","3.15","38.15"]
["1.1","10101007","人工挖一般土方 (三类土 槽深4m以\n内)","m3","9.92","30.07","0.00","0.00","0.00","2.95","1.98","0.00","3.15","38.15"]
["2","010103001002","回填方\n  1.填土机械夯实 (槽坑)","m3","8.53","5.47","0.00","0.00","2.59","0.79","0.53","0.00","0.84","10.22"]
["2.1","10101103","填土机械夯实 (槽坑)","m3","8.53","5.47","0.00","0.00","2.59","0.79","0.53","0.00","0.84","10.22"]
["3","010103002005","余方弃置\n  1.装载机装土方\n  2.废弃料品种:开挖土石方、拆除\n建筑垃圾等\n  3.运距:暂按10km，结算时据实调\n整","m3","7.74","0.49","0.00","0.00","24.25","2.42","1.63","0.00","2.59","31.36"]
["3.1","10101075","装载机装土方","m3","7.74","0.33","0.00","0.00","1.73","0.20","0.14","0.00","0.22","2.62"]
["3.2","10101084换2","自卸汽车运土 (载重10t以内运距\n10km)","m3","7.74","0.16","0.00","0.00","22.50","2.22","1.49","0.00","2.37","28.74"]
["二","混凝土工程"]
["1","010508001002","后浇带\n1.混凝土种类（商品混凝土、现场\n拌制，泵送、非泵送）:预拌非泵送\n普通混凝土\n2.混凝土强度等级:C30","m3","0.55","66.38","447.82","0.00","0.00","50.39","33.88","0.00","53.86","652.33"]
["1.1","10105047换1","C30预拌非泵送混凝土 (后浇带 梁\n、板)","m3","0.55","66.38","447.82","0.00","0.00","50.39","33.88","0.00","53.86","652.33"]
["三","钢筋工程"]
[null,null," "," "," "," "," "," "," "," "," "," "," "," "]
["  表10",null," "," "," "," "," "," "," "," "," "," "," "," "]
["分部分项工程量清单综合单价分析表"]
["工程名称：技术中心污水管道改造_土建单位工程",{"$nulls":10},"第2页 共3页"]
["序号","项目编码","项目名称及特征描述","单位","工程量","综合单价组成（元）",{"$nulls":7},"综合单价\n（元）"]
[{"$nulls":5},"人工费","材料费","其中：\n设备费","施工机具使用费","企业管理费","利润","规费","税金"]
["1","010515001060","现浇构件钢筋\n  1.钢筋种类、规格:带肋钢筋\nHRB400、φ12mm","t","0.07","796.76","3708.90","0.00","59.13","447.35","300.72","0.00","478.15","5831.57"]
["1.1","10105068换1","现浇构件带肋钢筋HRB400以内 (直\n径12mm)","t","0.07","802.33","3734.86","0.00","59.55","450.48","302.83","0.00","481.50","5831.55"]
["2","010516004002","建筑植筋\n1.注入式建筑植筋(深度15d) (Ф\n12)","个","95","2.76","2.45","0.00","0.49","0.56","0.38","0.00","0.60","7.24"]
["2.1","10105112","注入式建筑植筋(深度15d) (Ф12)","个","95","2.76","2.45","0.00","0.49","0.56","0.38","0.00","0.60","7.24"]
["四","楼地面装饰工程"]
["1","011101001001","水泥砂浆楼地面\n  部位：修补拆除原有水泥面层\n  1.水泥砂浆楼地面面层（20mm厚\n）","m2","18.4","16.63","6.91","0.00","0.46","2.35","1.58","0.00","2.51","30.44"]
["1.1","10111017","水泥砂浆楼地面面层（20mm厚）","m2","18.4","16.63","6.91","0.00","0.46","2.35","1.58","0.00","2.51","30.44"]
["五","其他装饰工程"]
["1","01BC01001001","埋管与原有地沟交接处-修补地沟\n  1.埋管与原有地沟交接处-修补地\n沟","项","1","0.00","0.00","0.00","0.00","0.00","0.00","0.00","0.00","1000"]
["1.1","10BC01001","埋管与原有地沟交接处-修补地沟","项","1","0.00","0.00","0.00","0.00","0.00","0.00","0.00","0.00","1000"]
["2","040504008002","整体化粪池\n  1.玻璃钢化粪池","座","1","29.61","2198.28","0.00","47.07","222.95","149.88","0.00","238.30","2886.08"]
["2.1","40501149","玻璃钢化粪池","m3","2.5","11.84","879.31","0.00","18.83","89.18","59.95","0.00","95.32","1154.43"]
["3","040504009003","雨水井\n  1.排污井（D=1200）（具体做法\n结合现场实际）","座","2","0.00","0.00","0.00","0.00","0.00","0.00","0.00","0.00","2500"]
[]
[null,null," "," "," "," "," "," "," "," "," "," "," "," "]
["  表10",null," "," "," "," "," "," "," "," "," "," "," "," "]
["分部分项工程量清单综合单价分析表"]
["工程名称：技术中心污水管道改造_土建单位工程",{"$nulls":10},"第3页 共3页"]
["序号","项目编码","项目名称及特征描述","单位","工程量","综合单价组成（元）",{"$nulls":7},"综合单价\n（元）"]
[{"$nulls":5},"人工费","材料费","其中：\n设备费","施工机具使用费","企业管理费","利润","规费","税金"]
["3.1","10BC01001","排污井（D=1200）","座","2","0.00","0.00","0.00","0.00","0.00","0.00","0.00","0.00","2500"]
["4","031001006001","塑料管\n1.给排水管道 室外 塑料排水管(粘\n接) 外径(200mm以内)","m","37","12.18","51.04","0.00","4.06","6.59","4.43","0.00","7.05","85.35"]
["4.1","31001303换1","给排水管道 室外 塑料排水管(粘接\n) 外径(200mm以内)","m","37","12.18","51.04","0.00","4.06","6.59","4.43","0.00","7.05","85.35"]
["5","010101007001","管沟土方\n1.管道挖填土方 (管道公称直径\n(200mm以内)   1.0m深)","m","37","66.66","0.11","0.00","0.00","6.54","4.40","0.00","6.99","84.7"]
["5.1","31011213","管道挖填土方 (管道公称直径\n(200mm以内)   1.0m深)","m","37","66.66","0.11","0.00","0.00","6.54","4.40","0.00","6.99","84.7"]
["六","拆除工程"]
["1","011602001004","混凝土构件拆除\n  1.拆除水泥砂浆整体面层","m2","18.4","16.84","0.00","0.00","0.00","1.65","1.11","0.00","1.76","21.36"]
["1.1","10116038","拆除水泥砂浆整体面层","m2","18.4","16.84","0.00","0.00","0.00","1.65","1.11","0.00","1.76","21.36"]
["2","011602002001","钢筋混凝土构件拆除\n  1.拆除40厚钢筋混凝土地面","m3","0.55","489.55","50.92","0.00","9.59","53.72","36.19","0.00","57.35","697.29"]
["2.1","10116036","拆除混凝土垫层","m3","0.55","387.12","0.00","0.00","0.00","37.94","25.50","0.00","40.55","491.11"]
["2.2","40203047","锯缝机锯缝 (缝深 4cm)","m","28","2.01","1.00","0.00","0.19","0.31","0.21","0.00","0.33","4.05"]
[]
[null,null," "," "," "," "," "," "," "," "," "," "," "," "]

{"sheet":"表11单价措施项目清单综合单价分析表","index":8,"n_rows":9,"n_cols":13,"rows_kept":9,"merged":[[0,0,0,1],[1,0,1,12],[2,0,2,10],[2,11,2,12],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,3,11],[3,12,4,12]],"flags":["formulas_cached_only"]}
["  表11",null," "," "," "," "," "," "," "," "," "," "," "]
["单价措施项目清单综合单价分析表"]
["工程名称:技术中心污水管道改造_土建单位工程",{"$nulls":10},"第1页 共1页"]
["序号","项目编码","项目名称及特征描述","单位","工程量","综合单价组成（元）",{"$nulls":6},"综合单价\n（元）"]
[{"$nulls":5},"人工费","材料费","施工机具使用费","企业管理费","利润","规费","税金"]
[" "," "," "," "," "," "," "," "," "," "," "," "," "]
[" "," "," "," "," "," "," "," "," "," "," "," "," "]
[]
[null,null," "," "," "," "," "," "," "," "," "," "," "]

{"sheet":"表14人工、材料设备、机械汇总表","index":9,"n_rows":56,"n_cols":8,"rows_kept":56,"merged":[[0,0,0,1],[1,0,1,7],[2,0,2,5],[2,6,2,7],[36,0,36,1],[37,0,37,7],[38,0,38,5],[38,6,38,7]],"flags":["formulas_cached_only"]}
["  表14",null," "," "," "," "," "," "]
["人工、材料设备、机械汇总表"]
["工程名称：技术中心污水管道改造",{"$nulls":5},"第1页 共2页"]
["序号","工料机编码","工料机名称","规格、型号等特殊要求","单位","数量","单价","合价"]
["一"," ","人工"," "," "," "," "," "]
["1","00010040","定额人工费"," ","元","4197.498","1.0876","4565.2"]
["二"," ","材料"," "," "," "," "," "]
["1","49010040","其他材料费"," ","元","86.754","0.92","79.81"]
["2","34110080","水"," ","m3","1.987","2.91","5.78"]
["3","04010170","散装水泥","42.5","kg","204.571","0.385","78.76"]
["4","04030230","净干砂（机制砂）"," ","m3","0.369","97.09","35.83"]
["5","01030140","镀锌铁丝","22#","kg","0.384","5.32","2.04"]
["6","03131970","低合金钢焊条","E43系列","kg","0.378","12.57","4.75"]
["7","01010330","螺纹钢筋","HRB400EΦ12","t","0.072","3548.67","255.5"]
["8","03210390","钢丝网"," ","㎡","1.403","4.87","6.83"]
["9","80110110","素水泥浆"," ","m3","0.018","559.617","10.07"]
["10","04010001","水泥","32.5","kg","27.637","0.372","10.28"]
["11","80010490","现拌抹灰砂浆","1:2.5 M40(42.5) 砂\n子4.75mm 稠度\n50~70mm","m3","0.375","306.23456","114.84"]
["12","14410790","植筋胶"," ","kg","9.396","15.57","146.3"]
["13","03131020","植筋专用钻头","Ф11-14","个","1.9","8.01","15.22"]
["14","49010390","玻璃钢化粪池"," ","m3","5","862.07","4310.35"]
["15","49010030","其他材料费"," ","%","86.681","1","86.68"]
["16","34090130","金刚石刀片"," ","片","0.095","292.7","27.81"]
["17","80213585","预拌非泵送普通混\n凝土","C30(42.5) 碎石\n31.5mm 塌落度120-\n160mm","m3","0.556","427.18","237.51"]
["18","14410430","氯丁粘接剂"," ","kg","0.488","14.76","7.2"]
["19","14330001","丙酮"," ","kg","0.733","4.71","3.45"]
["20","03131480","铁砂布"," ","张","0.696","0.88","0.61"]
["21","17253170_1","塑料排水管","Φ200","m","36.741","49.57","1821.25"]
["22","18250950_1","硬聚氯乙烯塑料管\n箍","Φ200","个","1.776","28.35","50.35"]
["三"," ","设备"," "," "," "," "," "]
["四"," ","机械"," "," "," "," "," "]
["1","99130280","电动夯实机","夯击能力20～62N.m","台班","0.815","27.16","22.14"]
["2","99070610","自卸汽车","装载质量4t","台班","0.393","442.94","174.08"]
["3","99050210","灰浆搅拌机","拌筒容量200L","台班","0.063","136.64","8.61"]
[]
[null,null," "," "," "," "," "," "]
["  表14",null," "," "," "," "," "," "]
["人工、材料设备、机械汇总表"]
["工程名称：技术中心污水管道改造",{"$nulls":5},"第2页 共2页"]
["序号","工料机编码","工料机名称","规格、型号等特殊要求","单位","数量","单价","合价"]
["4","99170020","钢筋切断机","直径40mm","台班","0.007","39.14","0.27"]
["5","99170040","钢筋弯曲机","直径40mm","台班","0.016","23.86","0.38"]
["6","99450790","电焊条烘干箱","容积450×350×450","台班","0.003","15.78","0.05"]
["7","99250150","对焊机","容量75kV·A","台班","0.008","103.61","0.83"]
["8","99250110","直流弧焊机","容量 32kV·A","台班","0.032","84.53","2.7"]
["9","99210001","木工圆锯机","直径500mm","台班","0.052","24.13","1.25"]
["10","99450430","电锤","520W","台班","1.349","6.86","9.25"]
["11","99430160","电动空气压缩机","排气量0.3m3/min","台班","1.349","27.98","37.75"]
["12","99090360","汽车式起重机","提升质量25t","台班","0.1","941.38","94.14"]
["13","99130610","混凝土路面锯缝机","不含刀片","台班","0.229","23.04","5.28"]
["14","99070280","轮胎式装载机","斗容量1.5m3","台班","0.017","786.69","13.37"]
["15","99070520","载货汽车","装载质量5t","台班","0.044","384.65","16.92"]
["16","99090310","汽车式起重机","提升质量8t","台班","0.211","621.62","131.16"]
["17","99440010","电动单级离心清水\n泵","出口直径Φ100","台班","0.022","31.66","0.7"]
[]
[null,null," "," "," "," "," "," "]